## WAREHOUSE

Name ______________________________________Week Ending _________/______/__________

| TOPIC |  | POOR |  | FAIR |  | AVERAGE | GOOD | EXCELLENT | ACTION | COMPLETED BY |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Aisleways/Access/Walkways |  |  |  |  |  |  |  |  |  |  |
| - Appropriate Signage |  |  |  |  |  |  |  |  |  |  |
| - Bulk Racking |  |  |  |  |  |  |  |  |  |  |
| - Chemical Storage |  |  |  |  |  |  |  |  |  |  |
| - Combustibles Storage |  |  |  |  |  |  |  |  |  |  |
| - Conveyors/Gravity Rack |  |  |  |  |  |  |  |  |  |  |
| - Dispatch Room/Reception |  |  |  |  |  |  |  |  |  |  |
| - Electrical Cables/Points |  |  |  |  |  |  |  |  |  |  |
| - Emergency Stop Controls |  |  |  |  |  |  |  |  |  |  |
| - Equipment |  |  |  |  |  |  |  |  |  |  |
| - Extinguishers |  |  |  |  |  |  |  |  |  |  |
| - Extraction System |  |  |  |  |  |  |  |  |  |  |
| - Eye Wash Station and/or the Safety Shower Station |  |  |  |  |  |  |  |  |  |  |
| - Fire Alarm Access |  |  |  |  |  |  |  |  |  |  |
| - Fire Exit Access |  |  |  |  |  |  |  |  |  |  |
| - Fire Hose Reel Access/Condition |  |  |  |  |  |  |  |  |  |  |
| - First Aid Facility |  |  |  |  |  |  |  |  |  |  |
| - Flammable Storage |  |  |  |  |  |  |  |  |  |  |
| - Floor Condition |  |  |  |  |  |  |  |  |  |  |
| - Forklift Charging Area |  |  |  |  |  |  |  |  |  |  |
| - Gas Bottle Storage |  |  |  |  |  |  |  |  |  |  |
| - Guarding (for tools & equip) |  |  |  |  |  |  |  |  |  |  |
| - Hose Reels |  |  |  |  |  |  |  |  |  |  |
| - Hoses & Fittings |  |  |  |  |  |  |  |  |  |  |
| - Lighting |  |  |  |  |  |  |  |  |  |  |
| - Loading Docks |  |  |  |  |  |  |  |  |  |  |
| - Noticeboards |  |  |  |  |  |  |  |  |  |  |
| - Office Areas/Canteen |  |  |  |  |  |  |  |  |  |  |
| - Pallet Jacks/Ladders/Trolleys etc |  |  |  |  |  |  |  |  |  |  |
| - Personal Protection Equipment |  |  |  |  |  |  |  |  |  |  |
| - Rest Area/Lunch Room |  |  |  |  |  |  |  |  |  |  |
| - Tidy Storage/Files |  |  |  |  |  |  |  |  |  |  |
| - Tools |  |  |  |  |  |  |  |  |  |  |
| - Waste/Scrap Disposal |  |  |  |  |  |  |  |  |  |  |
| - Work Stations/Desks |  |  |  |  |  |  |  |  |  |  |
| PERCENTAGE ACHIEVED |  |  |  |  |  |  |  |  |  |  |

## WAREHOUSE

|  |  |  |  |  |  |  |  | WEEK 1 | WEEK 2 | WEEK 3 | WEEK 4 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date Received: |  |  | ___/___/___ |  |  |  |  |  |  |  |  |  |
| Month of Inspection : |  |  |  |  |  |  |  |  |  |  |  |  |
| Section: |  |  |  | WAREHOUSE – |  |  |  |  |  |  |  |  |
| Person In Charge : |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety Rep: |  |  |  |  |  |  |  |  |  |  |  |  |
| Points Achieved : |  |  |  |  |  |  |  |  |  |  |  |  |
| Percentage Achieved : |  |  |  |  |  |  |  |  |  |  |  |  |
| INSTRUCTIONS: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Conduct inspections once per week. |  |  |  |  |  |  |  |  |  |  |  |
|  | Write in the month of the inspection. |  |  |  |  |  |  |  |  |  |  |  |
|  | Write in the week-end date (Friday of each week). |  |  |  |  |  |  |  |  |  |  |  |
|  | Complete the name of the person conducting the inspection. |  |  |  |  |  |  |  |  |  |  |  |
|  | Physically check all areas. |  |  |  |  |  |  |  |  |  |  |  |
|  | Circle the appropriate rating for each TOPIC. |  |  |  |  |  |  |  |  |  |  |  |
|  | When completed add up all the points and divide the answer by the maximum possible points. This answer then is multiplied by 100 to get percentages achieved, eg. 134/189 x 100 = 71%. |  |  |  |  |  |  |  |  |  |  |  |
|  | Any topic rated 3 or less should be discussed with the Supervisor or the Manager to determine the appropriate action, who and when should do it. |  |  |  |  |  |  |  |  |  |  |  |
|  | At the end of the month, this report is to be forwarded to the Warehouse Manager. Who will then prepare an action report for the Director. |  |  |  |  |  |  |  |  |  |  |  |
| NOTE: | Items which do not apply please cross out and do not include in calculation. Write in additional items and include them in the calculation. |  |  |  |  |  |  |  |  |  |  |  |

These guidelines may be of assistance when conducting a housekeeping inspection. A rating scale of 1-5 identifies individual’s opinion of the condition of the topic in question.

Rating 5 relates to excellent performance, which is ideal and cannot be improved.

Rating 1 relates to poor performance, which is unacceptable and could be classified hazardous and has a high risk of injury or damage occurring.

We have given an indication of the best scenario and if achieved it should be rated excellent (5) and if none of it applies it should be rated as poor (1). However, a number in between the two extremes may be the most reflective of your rating.

AISLWAYS/ACCESS/WALKWAYS

Excellent	Clean, clear, with no obstruction protruding into the pathway and whilst using this aisle way, one feels totally safe and at no risk of injury.

Poor	If none of this applies.

APPROPRIATE SIGNAGE

Excellent	Signs are appropriately identifying the hazard and its meaning is clearly defined. International (picture) signs are mostly used and they are visible and correctly located. They are properly maintained, updated, understood and observed.

Poor	If none of this applies.

CHEMICAL STORAGE

Excellent	All chemicals are in labeled containers and have an allocated storage space, marked appropriately. Sections have “Material Safety Data Sheets” for each chemical used and associates have adequate training in storage, handling, personal protection and disposal of chemicals.

Poor	If none of this applies.

COMBUSTIBLES STORAGE

Anything capable of burning is classified as combustibles.

Excellent	All combustibles are stored away from ignition sources and disposed of in metal containers. Excessive amounts are not stored close together to avoid creating a fire chain.

Poor	If none of this applies.

ELECTRICAL CABLES/POINTS

Excellent	Power and computer cables/leads are routed overhead, neatly tied or placed in a channel, rather than left lying on the floor. This is to avoid them becoming a tripping hazard or water logged. Cables/leads must be totally free of any damage to insulation or any part at all. This is to prevent electrocution and subsequent injury or death.

Poor	If none of this applies.

EMERGENCY STOP CONTROLS

Excellent	Clearly and easily identifiable with visible “STOP” marking. Emergency control must be easily accessible and all the associated must be educated it its use and purpose.

Poor	If none of this applies.

EXTINGUISHERS

Excellent	All extinguishers are properly hung on the hooks with correct identification signs mounted above them. Each has a service tag stamped with indicating the last service date. They are fully charged and have a safety pin secured to the handle. Access to all extinguishers is clear at all times and associates are educated in their use and purpose.

Poor	If none of this applies.

EXTRACTION SYSTEM

Excellent	Ensure it functions adequately by holding a piece of paper above the vent and checking the suction. Ensure the fumes, smoke and odors produced in the section are extracted away from the operators. Filters and extraction fan motors should be maintained on a regular basis to obtain optimum performance.

Poor	If none of this applies.

EYE WASH STATION AND/OR THE SAFETY SHOWER STATION

Excellent	Stationed where associates are exposed to chemical splash. Station is kept clean and is tested daily. The nozzles are maintained clean from dust. Access to and around the eye wash station is always kept clear.

Poor	If none of this applies.

EXTRACTION SYSTEM

Excellent	Ensure it functions adequately by holding a piece of paper above the vent and checking the suction. Ensure the fumes, smoke and odors produced in the section are extracted away from the operators. Filters and extraction fan motors should be maintained on a regular basis to obtain optimum performance.

Poor	If none of this applies.

FIRE ALARM ACCESS

Excellent	Clear access maintained at all times and appropriate visible signage is mounted above the alarm. All associates are educated in alarm location, purpose and use.

Poor	If none of this applies.

FIRE EXIT ACCESS

Excellent	Exit is identified, visible and clear. Aisle ways leading to the exits are always clear and the doors can open easily.

Poor	If none of this applies.

FLOOR CONDITION

Excellent	No gaps, cracks, tears in carpet/mats or any such damage that could cause tripping accidents. No water or oil spills left uncleaned. It must not be slippery or uneven that could be classed as a slipping hazard.

Poor	If none of this applies.

GUARDING (FOR TOOLS & EQUIPMENTS)

Excellent	Every set screw, pin, bolt, key or coupling on any revolving shaft spindle wheel or pinion, which is part of the plant of the work place, driven or intended to be driven by mechanical power is completely enclosed or guarded to prevent injury or loss of life. All spur and other toothed or friction gearing, pulley wheels and associated drive gear driven by mechanical power is enclosed.

Poor	If none of this applies.

HOSE REELS

Excellent	Fire hose reels are identified, clearly and easily accessible, no leaks or drips. Hoses and fittings are attached or located in the cabinet and service tags are attached and stamped to ensure they have been serviced.

Poor	If none of this applies.

HOSES AND FITTINGS

Excellent	Hoses and fittings on machines are neatly, securely and correctly fitted and in good condition without any signs of wear or damage. Hose application is correct and preventative maintenance is in place to prevent accidents and identify potential failures.

Poor	If none of this applies.

LIGHTING

Excellent	Lighting is adequate for the task being performed. More precise work requires brighter light. Blown or flickering globes and tubes are replaced. Lighting is not too dull or too bright.

Poor	If none of this applies.

(PPE) PERSONAL PROTECTIVE EQUIPMENT

Excellent	Appropriate PPE is issued and worn correctly in designated areas and when not in use, PPE is properly stored in a tidy, hygienic and safe manner. Used PPE is in a good condition and users are trained in who, what, when, why and where to use it.

Poor	If none of this applies.

RESY AREA/LUNCH ROOM RESY

Excellent	Clean and tidy. Rubbish and food scraps placed in bins provided and tables wiped clean. Chairs and tables in good condition and when not in use chairs left neatly under the table.

Poor	If none of this applies.

TIDY STORAGE

Excellent	Everything is in its place, properly labeled. No storage on the floor or beneath benches or desks. Storage cabinets are tidy so that parts and products are easily located, identified and retrieved. Flammable and other dangerous goods are stored separately and according to the regulations.

Poor	If none of this applies.

TOOLS/EQUIPMENT

Excellent	Tools and equipment in use must be in good condition and appropriate to the task. Leads, connections and switches must be without any damage or signs of wear and tear. Users need to be competent and comfortable with using tools and equipment and when not in use they must have a place allocated and stored away.

Poor	If none of this applies.

WASTE/SCRAP DISPOSAL

Excellent	Waste/scrap placed in proper disposal facilities for recycling or disposal. Bins are identified and properly used. Flammable materials, waste and oily rags are disposed of in metal containers only. No waste or scrap is left lying outside bins. Bins are emptied regularly and kept clean and in allocated areas.

Poor	If none of this applies.

WORK STATTIONS/DESKS

Excellent	Clean and tidy with no stock, product, parts, unused tools and equipment or paper work left lying about. No more than a days work is on the work station at any one time.

Poor	If none of this applies.